## CC1
Run | Escape Start Time | Starting Location | Maximum Travel Distance | Visibility Tenability Limit | Escape Ends | Escape Time | Occupant Trapped | Occupant Harmed | Minimum Visibility | Maximum Temperature | Maximum Radiation | Maximum FED (Toxicity) | Maximum FED (Heat) | Time | Escape Ends | Escape Time | Visibility (m) | Temperature (oC) | Radiation (kW/m2) | Carbon Dioxide (kg/m3) | Carbon Monoxide (kg/m3) | Water Vapour (Fraction) | Trapped | Time | HRR
Harmed
Escaped
Detection Time

## CC2
Run | Escape Start Time | Starting Location | Maximum Travel Distance | Visibility Tenability Limit | Escape Ends | Escape Time | Occupant Trapped | Occupant Harmed | Minimum Visibility | Maximum Temperature | Maximum Radiation | Maximum FED (Toxicity) | Maximum FED (Heat) | Time | Escape Ends | Escape Time | Visibility (m) | Temperature (oC) | Radiation (kW/m2) | Carbon Dioxide (kg/m3) | Carbon Monoxide (kg/m3) | Water Vapour (Fraction) | Trapped | Time | HRR
Harmed
Escaped
Detection Time

## PD1
Run | Escape Start Time | Starting Location | Maximum Travel Distance | Visibility Tenability Limit | Escape Ends | Escape Time | Occupant Trapped | Occupant Harmed | Minimum Visibility | Maximum Temperature | Maximum Radiation | Maximum FED (Toxicity) | Maximum FED (Heat) | Time | Escape Ends | Escape Time | Visibility (m) | Temperature (oC) | Radiation (kW/m2) | Carbon Dioxide (kg/m3) | Carbon Monoxide (kg/m3) | Water Vapour (Fraction) | Trapped | Time | HRR
Harmed
Escaped
Detection Time

## PD2
Run | Escape Start Time | Starting Location | Maximum Travel Distance | Visibility Tenability Limit | Escape Ends | Escape Time | Occupant Trapped | Occupant Harmed | Minimum Visibility | Maximum Temperature | Maximum Radiation | Maximum FED (Toxicity) | Maximum FED (Heat) | Time | Escape Ends | Escape Time | Visibility (m) | Temperature (oC) | Radiation (kW/m2) | Carbon Dioxide (kg/m3) | Carbon Monoxide (kg/m3) | Water Vapour (Fraction) | Trapped | Time | HRR
Harmed
Escaped
Detection Time

## Event Trees
Event Tree - Proposed Design | [6 empty] | Event Tree - Code Compliant Design
| Event 1 - Fire burns out at early stage | Event 2 - Sprinkler system activates | Probability of occupant becoming trapped |  | Probability of occupant becoming harmed |  |  | Event 1 - Fire burns out at early stage | Event 2 - Entrance Hall Door Left Open | Probability of occupant becoming trapped |  | Probability of occupant becoming harmed |  |  | Escaped | Trapped | Trapped and Harmed
|  |  | Pass | 100% | Pass | 100% |  |  |  | Pass | 100% | Pass | 100% | Proposed Design | 1 | 0 | 0
|  |  | Fail | 0% | Fail | 0% |  |  |  | Fail | 0% | Fail | 0% | Code Compliant Design | 1 | 0 | 0
|  | Yes (PS1) | 0 | In Scenario | 0 | In Scenario |  |  | Yes (CC1) | 0 | In Scenario | 0 | In Scenario
|  | 0.9 | 0 | Weighted | 0 | Weighted |  |  | 0.6 | 0 | Weighted | 0 | Weighted
| No | [6 empty] | No
| 0.4 | [6 empty] | 0.4
|  | No (PS2) | 0 | In Scenario | 0 | In Scenario |  |  | No | 0 | In Scenario | 0 | In Scenario
Start |  | 0.1 | 0 | Weighted | 0 | Weighted | Start |  | 0.4 | 0 | Weighted | 0 | Weighted
1 | [6 empty] | 1
| Yes | N/A | [5 empty] | Yes | N/A
| 0.6 |  | 0 |  | 0 |  |  | 0.6 |  | 0 |  | 0